Fire Protection System Impairment Program

| Business Name: |  |
| --- | --- |
| Address: |  |
| Registration: |  |

| Section 1 | Purpose & Scope |
| --- | --- |

The purpose of this program is for the premises to properly handle problems related to the maintenance of fire protection systems at this address. A written program like this is required by the New Jersey Uniform Fire Code [N.J.A.C. 5:70-3, 901.7 Systems Out of Service], and this business is required to follow all of the steps in this program whenever any Fire Protection System breaks, malfunctions, or undergoes ANY impairment to its full and immediate function.

This program pertains to the following fire protection systems that have been identified at this premises:

|  | Automatic Fire Sprinkler System | Fire Pump |  |
| --- | --- | --- | --- |
|  | Automatic Fire Alarm System | Standpipe System |  |
|  | Commercial Cooking Fire Suppression System | Smoke & Heat Vents |  |
|  | Smoke Alarm Systems | Clean-Agent Extinguishing System |  |
|  | Portable Fire Extinguishers | Private Fire Service Main |  |
|  | Carbon Monoxide Warning Equipment | Fire Hydrant Systems |  |
|  | [Other] | [Other] |  |

| Section 2 | General Information |  |  |
| --- | --- | --- | --- |
| Impairment Coordinator |  |  |  |  |
| [NAME HERE] |  | [TITLE] | Cell: |  |
| Email: |  | Address: | Alt Phone: |  |
| Building Owner |  |  |  |  |
| [NAME HERE] |  | [TITLE] | Cell: |  |
| Email: |  | Address: | Alt Phone: |  |
| Fire Official |  |  |  |  |
|  |  | Fire Official | Cell: |  |
| Email: |  | Address: | Alt Phone: |  |
| Fire Department |  |  |  |  |
|  |  | Fire Chief | Cell: |  |
| Email: |  | Address: | Alt Phone: |  |
| Note: |  |  |  |  |
| Fire Alarm Reset Code: |  |  |  |  |
| Fire Alarm Reset Instruction: |  |  |  |  |
| It is illegal to tamper/ interfere with any Fire Protection System without following this program. Putting a system on “test”, conducting a fire drill, shutting off a system or otherwise touching a system without following this program is not lawful. |  |  |  |  |

| Section 3 | Program Steps |
| --- | --- |

When a Fire Protection System breaks, is altered or has an impairment in any way; the following steps should be taken immediately. If you’re unsure, contact the Fire Prevention Bureau and discuss the problem. An Emergency Impairment may happen if a system breaks. A Pre-Planned Impairment may happen during an inspection/ fire drill/ special circumstance. After anything happens to the system, it should always be Restored to Service as soon as possible.

Emergency Impairment:

- Contact the Impairment Coordinator immediately. If they cannot be reached, notify the Building Owner. These two individuals are responsible to carry out this program, and will carry out the following steps below. - Begin filling out an Impairment Report (Section 6). - Determine the extent and expected duration of the impairment. - Contact the Fire Official to notify the Fire Prevention Bureau of the impairment. - Contact the Fire Department if directed by the Fire Official. - Contact responsible contractor for the repair. - Inspect the involved area or building and identify safety hazards/ increased risk. - Note any safety hazards and make recommendations to management or the building owner. - Use “OUT-OF-SERVICE" tags to clearly mark any part of the system that is OUT-OF-SERVICE. - Notify supervisors in the affected areas of the situation. - Assemble necessary tools and materials for the repair, fire watch, etc. - Notify insurance carrier, alarm company, building owner/ manager, any other authority having jurisdiction.

Pre-Planned Impairment:

- Pre-planned Impairments should only be handled by the Impairment Coordinator OR someone they specifically designate. - Determine the extent and expected duration of the impairment. - Contact the Fire Official. - Contact the Fire Department if directed by the Fire Official. - Inspect the involved area or building and identify safety hazards/ increased risk. - Note any safety hazards and make recommendations to management or the building owner. - Use “OUT-OF-SERVICE" tags to clearly mark any part of the system that is OUT-OF-SERVICE. - Notify supervisors in the affected areas of the situation. - Assemble necessary tools and materials for the repair, fire watch, etc. - Notify insurance carrier, alarm company, building owner/ manager, any other authority having jurisdiction.

| Section 4 | Restoring Systems to Service |
| --- | --- |

Restoring Systems to Service:

- The Impairment Coordinator SHALL verify that all of the following procedures have been implemented. - Necessary inspections and tests have been conducted to verify that affected systems are operational. - Advise supervisors that protection is restored. - Advise Fire Official and, if needed, the Fire Department. - Advise Building Owner/ Manager, insurance carrier, alarm company, any other parties contacted. - Remove “OUT OF SERVICE” tags. - Submit documentation from repair contractor to Fire Official. - Keep a copy of the Impairment Report On-Site.

| Section 5 | Other Contact Information |
| --- | --- |

| Fire Alarm Repair Contractor |  |  |
| --- | --- | --- |
| Name: | [TITLE] | Cell: |
| Email: | Address: | Alt Phone: |

| Fire Sprinkler Repair Contractor |  |  |
| --- | --- | --- |
| Name: | [TITLE] | Cell: |
| Email: | Address: | Alt Phone: |

| Alarm Monitoring Service |  |  |
| --- | --- | --- |
| Name: | [TITLE] | Cell: |
| Email: | Address: | Alt Phone: |

| Insurance Carrier |  |  |
| --- | --- | --- |
| Name: | [TITLE] | Cell: |
| Email: | Address: | Alt Phone: |

| Building Manager |  |  |
| --- | --- | --- |
| Name: | [TITLE] | Cell: |
| Email: | Address: | Alt Phone: |

| Section 6 | Impairment Incident Report |
| --- | --- |

This Impairment Report is to be filled out and retained for every “Emergency” or “Pre-Planned” impairment of a Fire Protection System on the premises. This report shall be retained on the premises and forwarded to the Fire Official.

| Impairment Report |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Property Address: [Street Address] [City, ST ZIP] |  | Business Name: [Business Name Here] |  |  | Date: |  |  |
|  |  |  |  |  | Time: |  |  |
| Impairment Type: [ ] Emergency [ ] Pre-Planned |  |  |  |  |  |  |  |
| Alarm Signal? |  | [ ] Alarm | [ ] Trouble | [ ] Supervisory |  | [ ] Other |  |
| Fire Protection System affected: |  |  |  |  |  |  |  |
| Steps Taken: |  |  |  | Yes/No | Date | Time | Initials |
|  | Contact Impairment Coordinator |  |  |  |  |  |  |
|  | Impairment Report |  |  |  |  |  |  |
|  | Determine Extent of Impairment |  |  |  |  |  |  |
|  | Notes: |  |  |  |  |  |  |
|  | Determine Expected Duration of Impairment |  |  |  |  |  |  |
|  | Notes: |  |  |  |  |  |  |
|  | Contact Fire Official |  |  |  |  |  |  |
|  | Contact Repair Contractor |  |  |  |  |  |  |
|  | Name & Phone: |  |  |  |  |  |  |
|  | Company: |  |  |  |  |  |  |
|  | Est. Arrival Time: |  |  |  |  |  |  |
|  | Inspect area for safety hazards |  |  |  |  |  |  |
|  | Hazards: |  |  |  |  |  |  |
|  | Send Recommendations to Building Manager |  |  |  |  |  |  |
|  | Tag OUT OF SERVICE equipment |  |  |  |  |  |  |
|  | Notify supervisors in building |  |  |  |  |  |  |
|  | Assemble necessary tools for repair |  |  |  |  |  |  |
|  | Notify Insurance Carrier + Other |  |  |  |  |  |  |
|  | Notes: |  |  |  |  |  |  |